## Instructions
PLC Tags — template
Tag list generated from an IO list. Not a controller program.
Type is BOOL or REAL. Addresses are copied from the IO list when present — never invented.
Import into an empty or dedicated tag scope. Do not overwrite a running processor.

## PLC Tags
Tag | Type | Description | Loop | SignalType | Role | Node | Card | Slot | Channel | Wiring
PT_1001_process_variable | REAL | Reactor pressure (0-10 barg) | PT-1001 | AI | process variable | CN-1 | AI-16 | 1 | 1 | HARDWIRED
ZS_2001_limit | BOOL | Valve open limit | ZS-2001 | DI | limit | CN-1 | DI-32 | 2 | 3 | HARDWIRED